## PT_results_table.csv
0	all channels OK	5.683392373146988	8.34987081459465	7.34917033693726	3.99698687727939	−0.08043436012049364	3.405960209604247	−2.174068304570816	11.15150070743248	18.63635601616426	18.29248896073312	17.9797908131395	18.139462142453	17.6224815372487	16.6933344253362	17.81045262489368	16.31257321676523	1.437058497783386	1.156457625785938	1.203925145026984	1.209824109591866	1.178772696421667	1.37454590534032	1.076606494563671	1.33300672577839	17.32940222761358	0.29046404623963346	21.0671713503155	2.155819505726007	0.6033634531911202	14.09674320550255	1.114827607787606	1.771828070666626	OK	OK	OK	OK	OK	OK	OK	OK	3.4752003847125	0.5010970326135047	0.2405719716000993	27.46569705251916	6.50923907955753	7.07746140044303	6.30911773717848	6.50024763450947	6.703864059958295	6.60240307665456	6.7585601966012	6.98535547472893	−255.068019007558	−269.853504690042	−212.3514290294232	−206.7045940082677	−218.356226853348	−209.9684324443174	−279.8526188556982	−250.9810051350939
serial	ASIC test result	baseline_channel_0	baseline_channel_1	baseline_channel_2	baseline_channel_3	baseline_channel_4	baseline_channel_5	baseline_channel_6	baseline_channel_7	s-curve_halfmax_channel_0	s-curve_halfmax_channel_1	s-curve_halfmax_channel_2	s-curve_halfmax_channel_3	s-curve_halfmax_channel_4	s-curve_halfmax_channel_5	s-curve_halfmax_channel_6	s-curve_halfmax_channel_7	s-curve_sigma_channel_0	s-curve_sigma_channel_1	s-curve_sigma_channel_2	s-curve_sigma_channel_3	s-curve_sigma_channel_4	s-curve_sigma_channel_5	s-curve_sigma_channel_6	s-curve_sigma_channel_7	s-curve_chi2ndf_channel_0	s-curve_chi2ndf_channel_1	s-curve_chi2ndf_channel_2	s-curve_chi2ndf_channel_3	s-curve_chi2ndf_channel_4	s-curve_chi2ndf_channel_5	s-curve_chi2ndf_channel_6	s-curve_chi2ndf_channel_7	Test_passed_channel_0	Test_passed_channel_1	Test_passed_channel_2	Test_passed_channel_3	Test_passed_channel_4	Test_passed_channel_5	Test_passed_channel_6	Test_passed_channel_7	mean ToT deviation between channels	RMS of ToT deviation between channels	ToT fit of 8 channels, RMS of slopes	ToT fit of 8 channels, RMS of offsets	ToT fit slope, channel 0	ToT fit slope, channel 1	ToT fit slope, channel 2	ToT fit slope, channel 3	ToT fit slope, channel 4	ToT fit slope, channel 5	ToT fit slope, channel 6	ToT fit slope, channel 7	ToT fit offset, channel 0	ToT fit offset, channel 1	ToT fit offset, channel 2	ToT fit offset, channel 3	ToT fit offset, channel 4	ToT fit offset, channel 5	ToT fit offset, channel 6	ToT fit offset, channel 7